## Slide 1: Announcements
Coffee!
Evaluation.
Dr. Yoshiki Sasai, R.I.P.

## Slide 2: Sequencing considerations

## Slide 3: Three basic problems
Resequencing, counting, and assembly.

## Slide 4: 1. Resequencing analysis
We know a reference genome, and want to find variants (blue) in a background of errors (red)

## Slide 5: 2. Counting
We have a reference genome (or gene set) and want to know how much we have. Think gene expression/microarrays.

## Slide 6: 3. Assembly
We don’t have a genome or any reference, and we want to construct one.
(This is how all new genomes are sequenced.)

## Slide 8: Outline
Shotgun sequencing
The magic of polonies, and how Illumina sequencing works
Sequencing depth, read length, and coverage
Paired-end sequencing and insert sizes
Coverage bias
Long reads: PacBio and Nanopore sequencing

## Slide 9: Shotgun sequencing
It was the best of times, it was the worst of times, it was the age of wisdom, it was the age of foolishness
It was the best of times, it was the wor
, it was the worst of times, it was the
isdom, it was the age of foolishness
mes, it was the age of wisdom, it was th

## Slide 11: Two specific concepts:
First, sequencing everything at random is very much easier than sequencing a specific gene region. (For example, it will soon be easier and cheaper to shotgun-sequence all of E. coli then it is to get a single good plasmid sequence.)
Second, if you are sequencing on a 2-D substrate (wells, or surfaces, or whatnot) then any increase in density (smaller wells, or better imaging) leads to a squared increase in the number of sequences yielded.

## Slide 12: Random sampling => deep sampling needed
Typically 10-100x needed for robust recovery (300 Gbp for human)

## Slide 13: “Coverage”
“Coverage” is simply the average number of reads that overlap
each true base in genome.
Here, the coverage is ~10 – just draw a line straight down from the top through all of the reads.

## Slide 14: Illumina yields the deepest sequencing available
MiSeq
  30 million reads per run
  300 base paired-end reads
HiSeq 2500 RR/X 10
  6 billion reads per run
  150 base paired-end reads
PacBio
  44,000 reads per run
  8500 bp in length
http://flxlexblog.wordpress.com/2014/06/11/developments-in-next-generation-sequencing-june-2014-edition/

## Slide 15: Illumina basics
http://ted.bti.cornell.edu/cgi-bin/epigenome/method-1.cgi
(See http://seqanswers.com/forums/showthread.php?t=21 for details)

## Slide 16: A movie of Illumina sequencing:
https://www.youtube.com/watch?v=tuD-ST5B3QA#t=61

## Slide 17: FASTQ
@895:1:1:1246:14654/1
CAGGCGCCCACCACCGTGCCCTCCAACCTGATGGT
+
][aaX__aa[`ZUZ[NONNFNNNNNO_____^RQ_
@895:1:1:1246:14654/2
ACTGGGCGTAGACGGTGTCCTCATCGGCACCAGC
+
\UJUWSSV[JQQWNP]]SZ]ZWU^]ZX][^TXR`
@895:1:1:1252:19493/1
CCGGCGTGGTTGGTGAGGTCACTGAGCTTCATGTC
+
OOOKONNNNN__`R]O[TGTRSY[IUZ]]]__X__

## Slide 18: Read length and reconstructability
Whiteford et al., Nuc. Acid Res, 2005

## Slide 19: “Reconstructability”
Assembling new genomes or transcriptomes…
Haplotyping - think human genetics & viruses, both.

## Slide 20: Real problem? Our data can’t uniquely specify solution!
Here, there is no direct way to know if last exon is connected to first exon.
Pyrkosz et al., unpub.

## Slide 21: Repeats! (and shared exons)

## Slide 22: Longer reads … OR … Paired-end/mate pair sequencing

## Slide 23: Paired-end sequencing
http://vallandingham.me/RNA_seq_differential_expression.html

## Slide 25
Mate-pair sequencing
(long insert)

## Slide 26: Longer reads
PacBio
Moleculo
Nanopore

## Slide 27
http://www.melanieswan.com/FOLS.html

## Slide 28: Moleculo (Illumina)
http://nextgenseek.com/2013/07/illumina-announces-moleculo-long-read-technology-and-phasing-as-service/

## Slide 29
http://labs.mcb.harvard.edu/branton/projects-NanoporeSequencing.htm

## Slide 30: Actual yields
MiSeq
  30 million reads per run
  300 base paired-end reads
HiSeq 2500 RR/X 10
  6 billion reads per run
  150 base paired-end reads
PacBio
  44,000 reads per run
  8500 bp in length
http://flxlexblog.wordpress.com/2014/06/11/developments-in-next-generation-sequencing-june-2014-edition/

## Slide 32: Your basic data (FASTQ)
@895:1:1:1246:14654/1
CAGGCGCCCACCACCGTGCCCTCCAACCTGATGGT
+
][aaX__aa[`ZUZ[NONNFNNNNNO_____^RQ_
@895:1:1:1246:14654/2
ACTGGGCGTAGACGGTGTCCTCATCGGCACCAGC
+
\UJUWSSV[JQQWNP]]SZ]ZWU^]ZX][^TXR`
@895:1:1:1252:19493/1
CCGGCGTGGTTGGTGAGGTCACTGAGCTTCATGTC
+
OOOKONNNNN__`R]O[TGTRSY[IUZ]]]__X__

## Slide 33: Mapping
Many fast & efficient computational solutions exist.
You have to figure out how to choose parameters to maximize sensitivity/specificity, and when to validate.
U. Colorado
http://genomics-course.jasondk.org/?p=395

## Slide 34: Assembly
Reassemble random fragments computationally.
UMD assembly primer (cbcb.umd.edu)

## Slide 35: Shotgun sequencing
It was the best of times, it was the wor
, it was the worst of times, it was the
isdom, it was the age of foolishness
mes, it was the age of wisdom, it was th
It was the best of times, it was the worst of times, it was the age of wisdom, it was the age of foolishness

## Slide 36: Where does # of reads count?
Resequencing, counting, and assembly.

## Slide 37: Where does reconstructability matter?
Resequencing, counting, and assembly.

## Slide 38: Summary
Coverage matters for SNP calls and assembly;
# of reads matters for counting;
Length of reads matters for reconstructability (assembly & haplotyping);
Illumina is still “best” for high coverage;
PacBio and Moleculo => genome assembly;
Nanopore??

## Slide 39: Sequencing in situ!?
Lee et al., http://www.sciencemag.org/content/343/6177/1360.full

## Slide 40: Today
More command line stuff
Working with actual data!!
Evaluating the quality of your data…